## F1
parent code | code | parent class name | class name | vgb class name
system | A | system class | electrical grid and distribution system | System for operation and monitoring
A | AA | electrical grid and distribution system | systems for higher-level management | System for automation
AA | AAB | systems for higher-level management | operation and monitoring (electrical) | System for Metering
AA | AAC | systems for higher-level management | automation systems (electrical) | Installation system for higher-level tasks
AA | AAM | systems for higher-level management | metering | Systems for Un > 420 kV
AA | AAS | systems for higher-level management | installation system for higher-level tasks | Distribution for Un 1000 kV
A | AB | electrical grid and distribution system | systems for un > 420 kv | Distribution for 765 kV < Un < 1000 kV
AB | ABA | systems for un > 420 kv | ac distribution for un > 1000 kv | Distribution for 525 kV < Un < 765 kV
AB | ABC | systems for un > 420 kv | ac distribution for 765 kv < un < 1000 kv | Distribution for 420 kV < Un < 525 kV
AB | ABE | systems for un > 420 kv | ac distribution for 525 kv < un < 765 kv | Systems for compensation
AB | ABG | systems for un > 420 kv | ac distribution for 420 kv < un < 525 kv | - available for use -
AB | ABP | systems for un > 420 kv | systems for compensation for un > 420 kv | - available for use -
AB | ABQ | systems for un > 420 kv | dc distribution for un > 1000 kv | Installation system for higher-level tasks of systems for Un > 420 kV
AB | ABR | systems for un > 420 kv | dc distribution for 765 kv < un < 1000 kv | - available for use -
AB | ABS | systems for un > 420 kv | installation system for higher-level tasks of systems for Un > 420 kV | - available for use -
AB | ABT | systems for un > 420 kv | dc distribution for 525 kv < un < 765 kv | Systems for 380 kV ≤ Un < 420 kV
AB | ABU | systems for un > 420 kv | dc distribution for 420 kv < un < 525 kv | Distribution for 380 kV
A | AC | electrical grid and distribution system | systems for 380 kv < un < 420 kv | - available for use -
AC | ACA | systems for 380 kv < un < 420 kv | ac distribution for 380 kv < un < 420 kv | Systems for 220 kV s Un < 380 kV
AC | ACQ | systems for 380 kv < un < 420 kv | dc distribution for 380 kv < un < 420 kv | Distribution for 300 kV < Un < 380 kV
AC | ACS | systems for 380 kv < un < 420 kv | installation system for higher-level tasks of systems for 380 kV < Un < 420 kV | Installation system for higher-level tasks of systems for 380 kV < Un < 420 kV
A | AD | electrical grid and distribution system | systems for 220 kv < un < 380 kv | Distribution for 250 kV < Un < 300 kV
AD | ADA | systems for 220 kv < un < 380 kv | ac distribution for 300 kv < un < 380 kv | Distribution for 220 kV
AD | ADC | systems for 220 kv < un < 380 kv | ac distribution for 250 kv < un < 300 kv | Systems for compensation
AD | ADE | systems for 220 kv < un < 380 kv | ac distribution for 220 kv < un < 250 kv | - available for use -
AD | ADP | systems for 220 kv < un < 380 kv | systems for compensation for 220 kv < un < 380 kv | - available for use -
AD | ADQ | systems for 220 kv < un < 380 kv | dc distribution for 300 kv < un < 380 kv | Installation system for higher-level tasks of systems for 220 kV < Un < 380 kV
AD | ADR | systems for 220 kv < un < 380 kv | dc distribution for 250 kv < un < 300 kv | - available for use -
AD | ADS | systems for 220 kv < un < 380 kv | installation system for higher-level tasks of systems for 220 kV < Un < 380 kV | Systems for 110 kV ≤ Un < 220 kV
AD | ADT | systems for 220 kv < un < 380 kv | dc distribution for 220 kv < un < 250 kv | Distribution for 180 kV
A | AE | electrical grid and distribution system | systems for 110 kv < un < 220 kv | Distribution for 150 kV (154 kV)
AE | AEA | systems for 110 kv < un < 220 kv | ac distribution for 180 kv < un < 220 kv | Distribution for 132 kV (138 kV)
AE | AEC | systems for 110 kv < un < 220 kv | ac distribution for 150 kv < un < 180 kv (standard voltage 150 (154) kv) | Distribution for 110 kV (115 kV)
AE | AEE | systems for 110 kv < un < 220 kv | ac distribution for 132 kv < un < 150 kv (standard voltage 132 (138) kv) | Systems for compensation
AE | AEG | systems for 110 kv < un < 220 kv | ac distribution for 110 kv < un < 132 kv (standard voltage 110 (115) kv) | - available for use -
AE | AEP | systems for 110 kv < un < 220 kv | systems for compensation for 110 kv < un < 220 kv | - available for use -
AE | AEQ | systems for 110 kv < un < 220 kv | dc distribution for 180 kv < un < 220 kv | Installation system for higher-level tasks of systems for 110 kV < Un < 220 kV
AE | AER | systems for 110 kv < un < 220 kv | dc distribution for 150 kv < un < 180 kv (standard voltage 150 (154) kv) | - available for use -
AE | AES | systems for 110 kv < un < 220 kv | installation system for higher-level tasks of systems for 110 kV < Un < 220 kV | - available for use -
AE | AET | systems for 110 kv < un < 220 kv | dc distribution for 132 kv < un < 150 kv (standard voltage 132 (138) kv) | Systems for 60 kV ≤ Un < 110 kV
AE | AEU | systems for 110 kv < un < 220 kv | dc distribution for 110 kv < un < 132 kv (standard voltage 110 (115) kv) | Distribution for 60 kV
A | AF | electrical grid and distribution system | systems for 60 kv < un < 110 kv | - available for use -
AF | AFA | systems for 60 kv < un < 110 kv | ac distribution for 60 kv < un < 110 kv | Installation system for higher-level tasks of systems for 60 kV < Un < 110 kV
AF | AFQ | systems for 60 kv < un < 110 kv | dc distribution for 60 kv < un < 110 kv | Systems for 45 kV ≤ Un < 60 kV
AF | AFS | systems for 60 kv < un < 110 kv | installation system for higher-level tasks of systems for 60 kV < Un < 110 kV | Distribution for 45 kV
A | AG | electrical grid and distribution system | systems for 45 kv < un < 60 kv | Systems for compensation
AG | AGA | systems for 45 kv < un < 60 kv | ac distribution for 45 kv < un < 60 kv | - available for use -
AG | AGP | systems for 45 kv < un < 60 kv | systems for compensation for 45 kv < un < 60 kv | Installation system for higher-level tasks of systems for 45 kV < Un < 60 kV
AG | AGQ | systems for 45 kv < un < 60 kv | dc distribution for 45 kv < un < 60 kv | Systems for 30 kV ≤ Un < 45 kV
AG | AGS | systems for 45 kv < un < 60 kv | installation system for higher-level tasks of systems for 45 kV < Un < 60 kV | Distribution for 30 kV
A | AH | electrical grid and distribution system | systems for 30 kv < un < 45 kv | Systems for compensation
AH | AHA | systems for 30 kv < un < 45 kv | ac distribution for 30 kv < un < 45 kv | - available for use -
AH | AHP | systems for 30 kv < un < 45 kv | systems for compensation for 30 kv < un < 45 kv | Installation system for higher-level tasks of systems for 30 kV < Un < 45 kV
AH | AHQ | systems for 30 kv < un < 45 kv | dc distribution for 30 kv < un < 45 kv | Systems for 20 kV ≤ Un < 30 kV
AH | AHS | systems for 30 kv < un < 45 kv | installation system for higher-level tasks of systems for 30 kV < Un < 45 kV | Distribution for 20 kV
A | AJ | electrical grid and distribution system | systems for 20 kv < un < 30 kv | Systems for compensation
AJ | AJA | systems for 20 kv < un < 30 kv | ac distribution for 20 kv < un < 30 kv | - available for use -
AJ | AJP | systems for 20 kv < un < 30 kv | systems for compensation for 20 kv < un < 30 kv | Installation system for higher-level tasks of systems for 20 kV < Un < 30 kV
AJ | AJQ | systems for 20 kv < un < 30 kv | dc distribution for 20 kv < un < 30 kv | Systems for 10 kV ≤ Un < 20 kV
AJ | AJS | systems for 20 kv < un < 30 kv | installation system for higher-level tasks of systems for 20 kV < Un < 30 kV | Distribution for 10 kV
A | AK | electrical grid and distribution system | systems for 10 kv < un < 20 kv | Systems for compensation
AK | AKA | systems for 10 kv < un < 20 kv | ac distribution for 10 kv < un < 20 kv | - available for use -
AK | AKP | systems for 10 kv < un < 20 kv | systems for compensation for 10 kv < un < 20 kv | Installation system for higher-level tasks of systems for 10 kV < Un < 20 kV
AK | AKQ | systems for 10 kv < un < 20 kv | dc distribution for 10 kv < un < 20 kv | Systems for 6 kV ≤ Un < 10 kV
AK | AKS | systems for 10 kv < un < 20 kv | installation system for higher-level tasks of systems for 10 kV < Un < 20 kV | Distribution for 6 kV < Un < 10 kV
A | AL | electrical grid and distribution system | systems for 6 kv < un < 10 kv | Systems for compensation
AL | ALA | systems for 6 kv < un < 10 kv | ac distribution for 6 kv < un < 10 kv | - available for use -
AL | ALP | systems for 6 kv < un < 10 kv | systems for compensation for 6 kv < un < 10 kv | Installation system for higher-level tasks of systems for 6 kV < Un < 10 kV
AL | ALQ | systems for 6 kv < un < 10 kv | dc distribution for 6 kv < un < 10 kv | Systems for 1 kV ≤ Un <6 kV
AL | ALS | systems for 6 kv < un < 10 kv | installation system for higher-level tasks of systems for 6 kV < Un < 10 kV | Distribution for 1 kV < Un < 6 kV
A | AM | electrical grid and distribution system | systems for 1 kv < un < 6 kv | Systems for compensation
AM | AMA | systems for 1 kv < un < 6 kv | ac distribution for 1 kv < un < 6 kv | - available for use -
AM | AMP | systems for 1 kv < un < 6 kv | systems for compensation for 1 kv < un < 6 kv | Installation system for higher-level tasks of systems for 1 kV < Un < 6 kV
AM | AMQ | systems for 1 kv < un < 6 kv | dc distribution for 1 kv < un < 6 kv | Systems for Un ≤ 1 kV
AM | AMS | systems for 1 kv < un < 6 kv | installation system for higher-level tasks of systems for 1 kV < Un < 6 kV | AC Distribution for Un > 400 V
A | AN | electrical grid and distribution system | systems for un < 1 kv | Transformer for Un > 400 V
AN | ANA | systems for un < 1 kv | ac system for 400 v < un < 1000 v, distribution | AC Distribution for Un ≤ 400 V
AN | AND | systems for un < 1 kv | ac-system for 400 v < un < 1000 v, transformer system | Safety Power Source
AN | ANE | systems for un < 1 kv | ac distribution for un ≤ 400 v | Transformer for Un ≤ 400 V
AN | ANG | systems for un < 1 kv | ac distribution for un < 400 v, back-up power supply | UPS System for Un < 400 V
AN | ANH | systems for un < 1 kv | transformer for un ≤ 400 v | - available for use -
AN | ANJ | systems for un < 1 kv | ups system for un ≤ 400 v | DC Distribution for 24 V < Un <110 V
AN | ANL | systems for un < 1 kv | ac-system for 400 v < un < 1000 v, ups system | Installation system for higher-level tasks of systems for Un < 1 kV
AN | ANQ | systems for un < 1 kv | dc distribution for un ≤ 110 v | Equipotential bonding systems (e.g. earthing/grounding, lightning protection)
AN | ANV | systems for un < 1 kv | installation system for higher-level tasks of systems for Un < 1 kV | Earthing/grounding system
A | AP | electrical grid and distribution system | equipotential bonding system | Equipotential bonding system
AP | APA | equipotential bonding system | earthing/grounding | Lightning protection system
AP | APB | equipotential bonding system | equipotential bonding | installation systems for several systems of the electrical grid and distribution system
AP | APG | equipotential bonding system | lightning protection system | Installation system for systems for higher-level management
A | AS | electrical grid and distribution system | installation systems for several systems of the electrical grid and distribution system | Installation system for several systems for measuring and metering
AS | ASA | installation systems for several systems of the electrical grid and distribution system | installation system for systems for higher-level management | installation system for several protecting systems
AS | ASB | installation systems for several systems of the electrical grid and distribution system | installation system for several systems for measuring and metering | Installation system for several control systems
AS | ASF | installation systems for several systems of the electrical grid and distribution system | installation system for several protecting systems | Installation system for several alarm systems
AS | ASK | installation systems for several systems of the electrical grid and distribution system | installation system for several control systems | Installation system for panels and desks
AS | ASP | installation systems for several systems of the electrical grid and distribution system | installation system for several alarm systems | Transformer, Converter stations
AS | ASW | installation systems for several systems of the electrical grid and distribution system | Installation system for panels and desks | Transformer station (grid transformer)
A | AT | electrical grid and distribution system | electrical transformer systems | Converter station (HVDC)
AT | ATA | electrical transformer systems | transformer system | Systems for besideand help purpose among other duties from main process
AT | ATD | electrical transformer systems | converter station (hvdc) | Electrical installation (Lighting and power)
A | AX | electrical grid and distribution system | systems for beside- and help purpose among other duties from main process | - available for use -
AX | AXC | systems for beside- and help purpose among other duties from main process | electrical installation (lighting and power) | Objects for housing technical systems or installations of power distribution including ancillary systems
AX | AXU | systems for beside- and help purpose among other duties from main process | emergency lighting | Structure, building for systems of power distribution incl. ancillary systems
A | AZ | electrical grid and distribution system | objects for housing technical systems or installations of power distribution incl. ancillary systems | Topside
AZ | AZA | objects for housing technical systems or installations of power distribution incl. ancillary systems | structure for network distribution systems including ancillary systems | not specified
AZA | AZA10 | structure for network distribution systems including ancillary systems | topside | not specified
AZA10 | AZA11 | topside | primary structure topside | not specified
AZA10 | AZA12 | topside | secondary structure topside | Supporting structure
AZA10 | AZA13 | topside | tertiary structure topside | not specified
AZA | AZA20 | structure for network distribution systems including ancillary systems | supporting structure | not specified
AZA20 | AZA21 | supporting structure | primary structure supporting structure | not specified
AZA20 | AZA22 | supporting structure | secondary structure supporting structure | free
AZA20 | AZA23 | supporting structure | tertiary structure supporing structure | not specified
AZA | AZA30 | structure for network distribution systems including ancillary systems | helideck | not specified
AZA30 | AZA31 | helideck | primary structure helideck | not specified
AZA30 | AZA32 | helideck | secondary structure helideck | Foundation
AZA30 | AZA33 | helideck | tertiary structure helideck | not specified
AZA | AZA40 | structure for network distribution systems including ancillary systems | foundations | not specified
AZA40 | AZA41 | foundations | primary structure foundations | not specified
AZA40 | AZA42 | foundations | secondary structure foundations | not specified
AZA40 | AZA43 | foundations | tertiary structure foundations | Area (if not *AZF* or *AZG*)
AZA | AZA50 | structure for network distribution systems including ancillary systems | substation building | Electrical auxiliary power supply system
AZ | AZC | objects for housing technical systems or installations of power distribution incl. ancillary systems | onshore structure for network distribution including ancillary systems | Low voltage electrical main supply system 1
system | B | system class | electrical auxiliary power supply system | Low voltage electrical main supply system 1, voltage level 1
B | BF | electrical auxiliary power supply system | auxiliary ac systems for un < 1 kv | Low voltage electrical main supply system 1, voltage level 2
BF | BFA | auxiliary ac systems for un < 1 kv | normal distribution 400v ac | Low voltage electrical main supply system 1, auxiliary power transformer
BF | BFB | auxiliary ac systems for un < 1 kv | normal distribution 215 v / 110 v ac | Control and protection system
BF | BFT | auxiliary ac systems for un < 1 kv | low voltage auxiliary transformer | Low voltage electrical supply system 1 for safety services
BF | BFY | auxiliary ac systems for un < 1 kv | control and protection system < 1 kv ac | Low voltage electrical supply system 1 for safety services, voltage level 1
B | BK | electrical auxiliary power supply system | auxiliary ac backup systems for un < 1 kv | Electric source for safety services 1
BK | BKA | auxiliary ac backup systems for un < 1 kv | emergency/safety distribution 400v ac | Uninterruptible power supply system UPS
BK | BKV | auxiliary ac backup systems for un < 1 kv | electric backup source (diesel emergency power) | UPS distribution system 1
B | BM | electrical auxiliary power supply system | auxiliary uninterruptible power supply system (ups) | UPS distribution system 2
BM | BMA | auxiliary uninterruptible power supply system (ups) | ups system 400v ac | Low voltage DC electrical main supply system
BM | BMB | auxiliary uninterruptible power supply system (ups) | ups system 110v dc | Low voltage DC electrical main supply system, voltage level 1
B | BP | electrical auxiliary power supply system | auxiliary dc systems for un < 1 kv | Low voltage DC electrical main supply system, converter system
BP | BPA | auxiliary dc systems for un < 1 kv | normal distribution <110v dc | Low voltage DC electrical main supply system, battery system
BP | BPU | auxiliary dc systems for un < 1 kv | converter system 110v dc | Control and protection system
BP | BPV | auxiliary dc systems for un < 1 kv | battery system <110v dc | Low voltage DC electrical supply system for safety purposes
BP | BPY | auxiliary dc systems for un < 1 kv | control and protection system 110v dc | Low voltage DC electrical supply system 1 for safety purposes
B | BQ | electrical auxiliary power supply system | auxiliary dc backup systems for un < 1 kv | Battery system
BQ | BQA | auxiliary dc backup systems for un < 1 kv | emergency/safety distribution 110v dc | Control and protection system
BQ | BQV | auxiliary dc backup systems for un < 1 kv | battery system emergency/safety distribution 110v dc | Installation systems for several systems of the electrical auxiliary power supply system
BQ | BQY | auxiliary dc backup systems for un < 1 kv | control and protection system emergency/safety distribution 110v dc | Installation system for systems for higher-level management
B | BS | electrical auxiliary power supply system | installation systems for several systems of the electrical auxiliary power supply system | Installation system for several systems for measuring and metering
BS | BSA | installation systems for several systems of the electrical auxiliary power supply system | installation system for systems for higher-level management of the auxiliary power supply system | Installation system for several protecting systems
BS | BSB | installation systems for several systems of the electrical auxiliary power supply system | installation system for several systems for measuring and metering of the auxiliary power supply system | Installation system for several control systems
BS | BSF | installation systems for several systems of the electrical auxiliary power supply system | installation system for several protecting systems | Installation system for several alarm systems
BS | BSK | installation systems for several systems of the electrical auxiliary power supply system | installation system for several control systems | Installation system for panels and desks
BS | BSP | installation systems for several systems of the electrical auxiliary power supply system | installation system for several alarm systems of the auxiliary power supply system | Control and protection systems
BS | BSW | installation systems for several systems of the electrical auxiliary power supply system | installation systems for panels and desks | Control and protection system
B | BY | electrical auxiliary power supply system | control and protection systems | Control and management systems
BY | BYA | control and protection systems | control and protection system | General process automation tasks
system | C | system class | control and management systems | Installation system for several systems for general process automation tasks
C | CA | control and management systems | general process automation tasks | Operation and monitoring
CA | CAS | general process automation tasks | installation system for several systems for general process automation tasks | Operation and monitoring
C | CB | control and management systems | operation and monitoring | not specified
CB | CBA | operation and monitoring | process safety systems | not specified
CBA | CBA10 | process safety systems | process shutdown system (psd), emergency shutdown (esd), electronic safety shut-down control (essd) | Operation and monitoring
CBA | CBA20 | process safety systems | high integrity pressure protection system (hipps) | not specified
CB | CBB | operation and monitoring | general | not specified
CBB | CBB10 | general | protection control and monitoring (pcm) | Installation system for several systems for operation and monitoring
CBB | CBB20 | general | integrated condition monitoring system (icms) | Automation systems
CB | CBS | operation and monitoring | installation system for several systems for operation and monitoring | Automation system
C | CC | control and management systems | automation systems | not specified
CC | CCA | automation systems | automation system | not specified
CCA | CCA10 | automation system | plant information system (core) | Installation system for several automation systems
CCA | CCA20 | automation system | platform control system (pcs, pacs) | Diagnostic systems
CC | CCS | automation systems | installation system for several automation systems | Diagnostic systems
C | CD | control and management systems | diagnostic systems | not specified
CD | CDA | diagnostic systems | instrument specialty systems | not specified
CDA | CDA10 | instrument specialty systems | leak detection systems | not specified
CDA | CDA20 | instrument specialty systems | tank gauging systems | not specified
CDA | CDA30 | instrument specialty systems | loading computer | Installation system for several diagnostic systems
CDA | CDA40 | instrument specialty systems | analysers | Engineering systems
CD | CDS | diagnostic systems | installation system for several diagnostic systems | Installation system for several engineering systems
C | CE | control and management systems | engineering systems | Process monitoring
CE | CES | engineering systems | installation system for several engineering systems | Fire alarm system
C | CK | control and management systems | process monitoring | Video monitoring system
CK | CKA | process monitoring | fire alarm system | Alarm system (acoustic/optical)
CK | CKC | process monitoring | video monitoring system | - available for use -
CK | CKD | process monitoring | public address and general alarm (paga) | not specified
CK | CKQ | process monitoring | non-electrical monitoring systems | not specified
CKQ | CKQ10 | non-electrical monitoring systems | corrosion monitoring | not specified
CKQ | CKQ20 | non-electrical monitoring systems | equipment health / condition monitoring system (cms) | not specified
CKQ | CKQ30 | non-electrical monitoring systems | structural condition monitoring system (scms) | not specified
CKQ | CKQ40 | non-electrical monitoring systems | fieldbus communications | not specified
CKQ | CKQ50 | non-electrical monitoring systems | distributed temperature sensing (dts) | Installation system for several systems for process monitoring
CKQ | CKQ60 | non-electrical monitoring systems | sand monitoring | Water supply, disposal and treatment
CK | CKS | process monitoring | installation system for several systems for process monitoring | Distribution systems after water treatment
system | G | system class | water supply , disposal, and treatment | - available for use -
G | GH | water supply , disposal, and treatment | water treatment systems | - available for use -
GH | GHQ | water treatment systems | non waste water treatment systems | - available for use -
GH | GHR | water treatment systems | waste water treatment systems | - available for use -
G | GQ | water supply , disposal, and treatment | water supply and distribution | - available for use -
GQ | GQA | water supply and distribution | fresh (non potable) water supply and distribution | - available for use -
GQ | GQB | water supply and distribution | irrigation water system and holding ponds (freshwater) | Systems for conversion of energy (without heat generation) and for transmission of electrical energy
GQ | GQC | water supply and distribution | sea water supply and distribution | Wind Turbine System
system | M | system class | systems for conversion of energy (without heat generation) and for transmission of electrical energy | Rotor System from incl. tip of the blade to excl. connection drive train
M | MD | systems for conversion of energy (without heat generation) and for transmission of electrical energy | wind turbine system | Rotor System 1, overall
MD | MDA | wind turbine system | rotor system from incl. tip of the blade to excl. connection drive train | Rotor System 1, Rotor Blade 1
MDA | MDA10 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, overall | Rotor System 1, Rotor Blade 2
MDA | MDA11 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, rotor blade 1 | Rotor System 1, Rotor Blade 3
MDA | MDA12 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, rotor blade 2 | Rotor System 1, Rotor Hub System
MDA | MDA13 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, rotor blade 3 | Rotor System 1, Rotor Brake Subsystem
MDA | MDA15 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, rotor hub system | Drive Train System with gearbox: from excl. drive train without gearbox: from excl. generator
MDA | MDA16 | rotor system from incl. tip of the blade to excl. connection drive train | rotor system 1, rotor brake subsystem | Drive Train System 1, Rotor Bearing
MD | MDK | wind turbine system | drive train system with gearbox | Drive Train System 1, Speed Conversion
MDK | MDK11 | drive train system with gearbox | drive train system 1, rotor bearing | Drive Train System 1, Brake Subsystem
MDK | MDK12 | drive train system with gearbox | drive train system 1, speed conversion | Drive Train System 1, Torque Transmission High Speed
MDK | MDK13 | drive train system with gearbox | drive train system 1, brake subsystem | Drive Train System 1, Rotor Lock
MDK | MDK14 | drive train system with gearbox | drive train system 1, torque transmission high speed | Drive Train System 1, Rotor Slewing Unit
MDK | MDK15 | drive train system with gearbox | drive train system 1, rotor lock | Drive Train System 1, Main Gear Oil
MDK | MDK16 | drive train system with gearbox | drive train system 1, rotor slewing unit | Drive Train System 1, Offline Gear Oil
MDK | MDK17 | drive train system with gearbox | drive train system 1, main gear oil | Drive Train System 1, Lubricant Bearing and Gear Box
MDK | MDK18 | drive train system with gearbox | drive train system 1, offline gear oil | Yaw System to incl. yaw ring
MDK | MDK19 | drive train system with gearbox | drive train system 1, lubricant bearing and gear box | Yaw Drive System
MD | MDL | wind turbine system | yaw system to incl. yaw ring | Yaw Gear Lubrication
MDL | MDL11 | yaw system to incl. yaw ring | yaw drive system | Yaw Brake System
MDL | MDL12 | yaw system to incl. yaw ring | yaw gear lubrication | Lubricant system
MDL | MDL13 | yaw system to incl. yaw ring | yaw brake system | Hydraulic system
MD | MDV | wind turbine system | lubricant system | Generator system
MD | MDX | wind turbine system | hydraulic system | Generator to incl. generator bushing
M | MK | systems for conversion of energy (without heat generation) and for transmission of electrical energy | generator system | Generator exciter set
MK | MKA | generator system | generator to incl. generator bushing | Transmission
MK | MKC | generator system | generator exciter set | Generator lead from excl. generator bushing to excl. low-voltage bushing of generator transformers excl. generator circuit breaker
M | MS | systems for conversion of energy (without heat generation) and for transmission of electrical energy | transmission | Generator circuit-breaker system
MS | MSA | transmission | generator lead from excl. generator bushing to excl. low-voltage bushing of generator transformers excl. generator circuit breaker | Converter system
MS | MSC | transmission | generator circuit-breaker system | Compensation system
MS | MSE | transmission | converter system | Generator transformer system
MS | MSS | transmission | compensation system | Common System for systems for conversion of energy (without heat generation) and for transmission of electrical energy
MS | MST | transmission | generator transformer system | Frame, support structure
M | MU | systems for conversion of energy (without heat generation) and for transmission of electrical energy | common system for systems for conversion of energy (without heat generation) and for transmission of electrical energy | Cooling
MU | MUG | common system for systems for conversion of energy (without heat generation) and for transmission of electrical energy | frame, support structure | Control and protection systems
MU | MUR | common system for systems for conversion of energy (without heat generation) and for transmission of electrical energy | cooling | Control and protection system
M | MY | systems for conversion of energy (without heat generation) and for transmission of electrical energy | turbine control and protection systems | Cooling water systems
MY | MYA | turbine control and protection systems | remote monitoring system | Cooling water system 1 of the main process
system | P | system class | cooling water systems | - available for use -
P | PA | cooling water systems | cooling water systems of the main process | - available for use -
PA | PAQ | cooling water systems of the main process | sea water cooling | not specified
PA | PAT | cooling water systems of the main process | fresh water cooling | Superordinate systems such as the electrical network and distribution system, higher-level control systems
system | U | system class | structures and areas for systems inside of the power plant process | Structures and areas for systems inside of the power plant process
U | UB | structures and areas for systems inside of the power plant process | structures for electrical auxiliary power supply system | Structures for electrical auxiliary power supply system
UB | UBA | structures for electrical auxiliary power supply system | switchgear building | Switchgear building
U | UM | structures and areas for systems inside of the power plant process | wind farm structures | Structures for systems for conversion of energy and for transmission of electrical energy
UM | UMD | wind farm structures | structure for wind turbine system | Structure for wind turbine system
UMD | UMD10 | structure for wind turbine system | wind turbine nacelle | Nacelle
UMD10 | UMD11 | wind turbine nacelle | primary structure wind turbine nacelle | not specified
UMD10 | UMD12 | wind turbine nacelle | secondary structure wind turbine nacelle | not specified
UMD10 | UMD13 | wind turbine nacelle | tertiary structure wind turbine nacelle | not specified
UMD | UMD20 | structure for wind turbine system | wind turbine tower | Tower
UMD20 | UMD21 | wind turbine tower | primary structure wind turbine tower | not specified
UMD20 | UMD22 | wind turbine tower | secondary structure wind turbine tower | not specified
UMD20 | UMD23 | wind turbine tower | tertiary structure wind turbine tower | not specified
UMD | UMD30 | structure for wind turbine system | wind turbine transition piece | Transition piece
UMD30 | UMD31 | wind turbine transition piece | primary structure transition piece | not specified
UMD30 | UMD32 | wind turbine transition piece | secondary structure transition piece | not specified
UMD30 | UMD33 | wind turbine transition piece | tertiary structure transition piece | not specified
UMD | UMD40 | structure for wind turbine system | wind turbine foundation | Foundation
UMD40 | UMD41 | wind turbine foundation | primary structure wind turbine foundation | not specified
UMD40 | UMD42 | wind turbine foundation | secondary structure wind turbine foundation | not specified
UMD40 | UMD43 | wind turbine foundation | tertiary structure wind turbine foundation | not specified
U | UU | structures and areas for systems inside of the power plant process | structures and areas for several systems | Structures and areas for several systems
UU | UUA | structures and areas for several systems | structure or area for several systems | Structure and area for several systems
system | V | system class | systems for storage of materials or goods | Systems for storage of materials or goods
V | VA | systems for storage of materials or goods | storage systems | Systems for storage of spare-, reserve and wear parts
VA | VAA | storage systems | systems for storage of spare-, reserve- and wear parts | Systems for storage of spare-, reserve and wear parts
system | X | system class | ancillary systems | Ancillary systems
X | XA | ancillary systems | ventilation and air-conditioning systems | Ventilation and air-conditioning systems
XA | XAA | ventilation and air-conditioning systems | air conditioning and ventilation | Central ventilation and air-conditioning system
XA | XAM | ventilation and air-conditioning systems | building management system | Ventilation and air-conditioning system in structures for systems for conversion of energy and for transmission of electrical energy
X | XB | ancillary systems | heating systems | Heating systems
XB | XBA | heating systems | heating | Central heating system
XB | XBU | heating systems | heat tracing | - available for use -
X | XF | ancillary systems | equipotential bonding systems (e.g. earthing, lightning protection) | Equipotential bonding systems (e.g. earthing, lightning protection)
XF | XFC | equipotential bonding systems (e.g. earthing, lightning protection) | external lightning protection | External lightning protection
X | XG | ancillary systems | fire fighting | Fire extinguishing systems
XG | XGA | fire fighting | fire water system | Fire water system
XG | XGC | fire fighting | water deluge, fog or mist system fire extinguishing | Spray deluge system
XG | XGF | fire fighting | compressed air foam (caf) fire extinguishing | Foam extinguishing system
XG | XGK | fire fighting | inert gas fire extinguishing | Inert gas fire extinguishing system
XG | XGM | fire fighting | manual fire extinguishing system | Fire extinguishing system with other extinguishing agent
XG | XGQ | fire fighting | deck integrated fire fighting (diff) | - available for use -
X | XH | ancillary systems | drains? | Waterway systems
X | XK | ancillary systems | chilled water systems | Chilled water systems
XK | XKA | chilled water systems | chilled water generation system | Central chilled water generation
XK | XKB | chilled water systems | chilled water distribution system | Central chilled water conveyance and distribution
X | XL | ancillary systems | potable water systems | Potable water systems
XL | XLQ | potable water systems | potable water supply and distribution | - available for use -
X | XM | ancillary systems | material handling systems | Crane assemblies, stationary hoists and inspection equipment
XM | XMM | material handling systems | lifting equipment | Crane assembly, stationary hoists and inspection equipment in structures for systems for conversion of energy (without heat generation) and for transmission of electrical energy
XM | XMT | material handling systems | pulling systems | - available for use -
X | XN | ancillary systems | elevator systems | Elevator systems
XN | XNM | elevator systems | elevator system in structures for systems for conversion of energy (without heat generation) and for transmission of electrical energy | Elevator system in structures for systems for conversion of energy (without heat generation) and for transmission of electrical energy
XN | XNZ | elevator systems | elevator system in structures for other purposes | Elevator system in structures for other purposes
X | XQ | ancillary systems | other ancillary systems | - available for use -
XQ | XQA | other ancillary systems | installation systems | - available for use -
XQA | XQA10 | installation systems | installation aids | not specified
XQA | XQA20 | installation systems | grouting system | not specified
XQA | XQA30 | installation systems | pile grippers (hydraulic) | not specified
XQ | XQC | other ancillary systems | helideck lighting | - available for use -
XQ | XQD | other ancillary systems | navigation aids | - available for use -
XQ | XQF | other ancillary systems | oil heating | - available for use -
XQ | XQR | other ancillary systems | corrosion protection | - available for use -
XQR | XQR10 | corrosion protection | cathodic protection, sacrificial | not specified
XQR | XQR20 | corrosion protection | cathodic protection, impressed current | not specified
XQR | XQR30 | corrosion protection | miscellaneous corrosion protection | not specified
XQ | XQS | other ancillary systems | drains | - available for use -
XQS | XQS10 | drains | open drain system - non-hazardous | not specified
XQS | XQS20 | drains | open drain system - hazardous | not specified
XQS | XQS30 | drains | closed drains | not specified
XQS | XQS40 | drains | surface water catchment and drainage | not specified
XQ | XQT | other ancillary systems | training simulators and emulators | - available for use -
XQT | XQT10 | training simulators and emulators | facility/plant simulator | not specified
XQT | XQT20 | training simulators and emulators | subsea simulator | not specified
XQT | XQT30 | training simulators and emulators | facility/plant emulator | not specified
X | XS | ancillary systems | safety services for installations and persons | Safety services for installations and persons
XS | XSA | safety services for installations and persons | access control | Access control system
XS | XSB | safety services for installations and persons | surveillance / closed circuit monitoring (cctv) | Video monitoring system
XS | XSC | safety services for installations and persons | intruder detection | Intrusion detection system
XS | XSD | safety services for installations and persons | obstacle warning systems | Obstruction waming systems
XSD | XSD11 | obstacle warning systems | obstacle warning system aviation | Aviation obstruction marking
XSD | XSD12 | obstacle warning systems | obstacle warning system marine | Seafaring obstruction marking
XSD | XSD13 | obstacle warning systems | sonar system | not specified
XS | XSE | safety services for installations and persons | systems for rescue and safety of persons | Systems for rescue and safety of persons
XS | XSQ | safety services for installations and persons | safety equipment | - available for use -
XS | XSS | safety services for installations and persons | safety signage | - available for use -
X | XU | ancillary systems | sanitary waste water systems | Sanitary waste water systems
XU | XUA | sanitary waste water systems | sewage | Central sanitary waste water system
system | Y | system class | communication and information systems | Communication and information systems
Y | YA | communication and information systems | communications systems | Communications systems
YA | YAA | communications systems | telephone/personal access exchange system (pabx) | Telephone system
YA | YAB | communications systems | marine communications | Radiotelephone system
YAB | YAB10 | marine communications | marine radios, gmdss | not specified
YAB | YAB20 | marine communications | radios, vhf/uhf | not specified
YAB | YAB30 | marine communications | local ship to facility communications | not specified
YAB | YAB40 | marine communications | satellite communication system (vsat) | not specified
YA | YAQ | communications systems | automated terminal information service (atis) | - available for use -
YA | YAR | communications systems | site communications and local networks | - available for use -
YA | YAS | communications systems | field communications | - available for use -
YAS | YAS10 | field communications | microwave radio communication systems | not specified
YAS | YAS20 | field communications | backbone network (ibr network & system uk) | not specified
YAS | YAS30 | field communications | fibre optic | not specified
Y | YB | communication and information systems | information systems | Information systems
YB | YBC | information systems | system for acquisition of environmental data | System for acquisition of environmental data
YBC | YBC10 | system for acquisition of environmental data | meteocean observation system | not specified
YBC10 | YBC11 | meteocean observation system | lidar wind speed measurement | not specified
YBC | YBC20 | system for acquisition of environmental data | geological/seabed measurement system | not specified
YBC | YBC30 | system for acquisition of environmental data | hydrological measurement system | not specified
YBC | YBC40 | system for acquisition of environmental data | flora measurement system | not specified
YBC | YBC50 | system for acquisition of environmental data | fauna measurement system | not specified
YB | YBQ | information systems | vessel tracking and management system (vtms) | - available for use -
YB | YBR | information systems | computing systems equipment (pcs, printers, servers) | - available for use -
YB | YBS | information systems | marine radar and arpas | - available for use -
Y | YC | communication and information systems | it networks | IT network
YC | YCQ | it networks | local area network communication (lan) | - available for use -
YC | YCR | it networks | wifi | - available for use -
YC | YCS | it networks | 4g/5g system | - available for use -
YC | YCT | it networks | voice and data network | - available for use -
system | Z | system class | structures and areas for systems outside of the power plant process | Structures and areas for systems outside of the power plant process
Z | ZQ | structures and areas for systems outside of the power plant process | infrastructure | - available for use -
Z | ZU | structures and areas for systems outside of the power plant process | other buildings | - available for use -
ZU | ZUA | other buildings | harbor building | - available for use -
Z | ZV | structures and areas for systems outside of the power plant process | structures and surfaces for storage of material and goods | Structures and surfaces for storage of material and goods
ZV | ZVA | structures and surfaces for storage of material and goods | warehouse building | Structure for storage of spare and wearing parts
Z | ZW | structures and areas for systems outside of the power plant process | administrative and staff amenity buildings or structures | Structures for administrative tasks or staff amenities
ZW | ZWA | administrative and staff amenity buildings or structures | office building, administration building | Office building, administration building
ZW | ZWB | administrative and staff amenity buildings or structures | training facility | Training facility
ZW | ZWC | administrative and staff amenity buildings or structures | staff amenities building | Staff amenities building
ZW | ZWG | administrative and staff amenity buildings or structures | accomodation building or area | Residential building, residential area
Z | ZY | structures and areas for systems outside of the power plant process | structures for communications and information | Structures for communications and information
ZY | ZYB | structures for communications and information | structure for acquisition of environmental data | Structure for acquisition of environmental data
Z | ZZ | structures and areas for systems outside of the power plant process | onshore infrastructure | Structures and surfaces for conveyance and traffic, fencing, gardens and other purposes
ZZ | ZZA | onshore infrastructure | roads/access | Works roadway, path
ZZ | ZZC | onshore infrastructure | parking area incl. associated structures | Parking area incl. associated structures
ZZ | ZZK | onshore infrastructure | laydown areas (permanent, construction, etc.) | Yards
ZZ | ZZL | onshore infrastructure | fencing and gate system | Fencing and gate system
ZZ | ZZN | onshore infrastructure | outdoor areas, plots of land | Outdoor areas, plots of land
ZZ | ZZR | onshore infrastructure | bunds (for containment) | - available for use -
ZZ | ZZS | onshore infrastructure | civil-utilities structures (catch basins, manholes, etc.) | - available for use -
ZZ | ZZT | onshore infrastructure | jetty, bulkheads, and wharves | - available for use -
ZZ | ZZU | onshore infrastructure | helipads, runways, taxiways | - available for use -
ZZ | ZZW | onshore infrastructure | site preparation & grading | Structure for site preparation and setup